## Grid_Summary
total_buses | total_lines | total_generators | base_generation_mw | base_load_mw | base_losses_mw
100 | 136 | 16 | 251.7224 | 288.7755 | 565.3813

## Realistic_Scenarios
scenario_id | scenario_type | load_multiplier | renewable_cf_wind | renewable_cf_solar | temperature_c | converged | total_generation_mw | total_load_mw | max_voltage_pu | min_voltage_pu | violations
SCEN_001 | normal | 1.2713 | 0.2985 | 0.32205 | 9.5533 | TRUE | 264.9709 | 368.7161 | 1.3074 | 1 | 90
SCEN_002 | stress | 1.1441 | 0.30235 | 0 | 19.9238 | TRUE | 264.9709 | 293.757 | 1.3226 | 1.0101 | 92
SCEN_003 | normal | 1.0465 | 0.45147 | 1.0828e-16 | 26.4781 | TRUE | 264.9709 | 320.9547 | 1.3085 | 1 | 90
SCEN_004 | normal | 0.99907 | 0.07241 | 0.15363 | 6.1187 | TRUE | 264.9709 | 300.2485 | 1.309 | 1 | 90
SCEN_005 | normal | 0.72293 | 0.096421 | 0 | -0.29304 | TRUE | 255.2047 | 243.0521 | 1.3103 | 1 | 90
SCEN_006 | normal | 0.93719 | 0.10723 | 0.82864 | 22.3811 | TRUE | 264.9709 | 267.8143 | 1.3098 | 1 | 90
SCEN_007 | normal | 1.3282 | 0.18682 | 0.40308 | 10.5682 | TRUE | 264.9709 | 416.7365 | 1.3063 | 1 | 90
SCEN_008 | normal | 0.58507 | 0.1559 | 0 | 17.7886 | TRUE | 191.42 | 182.3048 | 1.3114 | 1 | 90
SCEN_009 | stress | 1.1889 | 0.30027 | 0.14333 | 27.6583 | TRUE | 264.9709 | 330.1145 | 1.3229 | 1.011 | 92
SCEN_010 | normal | 0.84606 | 0.10836 | 0.30483 | 17.4637 | TRUE | 260.3336 | 247.9367 | 1.3102 | 1 | 90

## Contingency_Analysis
contingency_id | contingency_type | elements | probability | converged | solve_time | iterations | total_generation_mw | total_load_mw | total_losses_mw | max_voltage_pu | min_voltage_pu | max_line_loading_pct | pre_violations | post_violations | new_violations | cleared_violations | critical_violations | new_critical_violations | islands_created | islanded_buses_count | severity_score | criticality_level
N1_LINE_L_A003_B004 | N-1 | L_A003_B004 | 0.16231 | TRUE | 0.37217 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A003_B012 | N-1 | L_A003_B012 | 0.076424 | TRUE | 0.44488 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B019_B044 | N-1 | L_B019_B044 | 0.024195 | TRUE | 0.53738 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A008_A009 | N-1 | L_A008_A009 | 0.018663 | TRUE | 0.46122 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A001_A002 | N-1 | L_A001_A002 | 0.016768 | TRUE | 0.53351 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A045_A046 | N-1 | L_A045_A046 | 0.015493 | TRUE | 0.67227 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N2_LINES_L_A003_B012_L_A003_B004 | N-2 | L_A003_B012,L_A003_B004 | 0.015421 | TRUE | 0.53339 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B016_B017 | N-1 | L_B016_B017 | 0.015192 | TRUE | 0.56953 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A011_A012 | N-1 | L_A011_A012 | 0.014423 | TRUE | 0.62973 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B001_B026 | N-1 | L_B001_B026 | 0.012433 | TRUE | 0.49719 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B024_B025 | N-1 | L_B024_B025 | 0.012226 | TRUE | 0.49499 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A027_A028 | N-1 | L_A027_A028 | 0.011975 | TRUE | 0.58213 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A019_A020 | N-1 | L_A019_A020 | 0.011869 | TRUE | 0.58265 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B030_B031 | N-1 | L_B030_B031 | 0.011791 | TRUE | 0.51035 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A043_A044 | N-1 | L_A043_A044 | 0.011423 | TRUE | 0.59865 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B029_B030 | N-1 | L_B029_B030 | 0.01125 | TRUE | 0.46499 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B013_B038 | N-1 | L_B013_B038 | 0.011009 | TRUE | 0.56284 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A040_A015 | N-1 | L_A040_A015 | 0.010527 | TRUE | 0.46861 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A037_A012 | N-1 | L_A037_A012 | 0.010207 | TRUE | 0.52368 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A032_A033 | N-1 | L_A032_A033 | 0.0099417 | TRUE | 0.558 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B027_B028 | N-1 | L_B027_B028 | 0.0099016 | TRUE | 0.61794 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B022_B023 | N-1 | L_B022_B023 | 0.0097371 | TRUE | 0.54839 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A033_A034 | N-1 | L_A033_A034 | 0.0095783 | TRUE | 0.41881 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B018_B019 | N-1 | L_B018_B019 | 0.0088939 | TRUE | 0.5421 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B046_B047 | N-1 | L_B046_B047 | 0.0088285 | TRUE | 0.48753 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_B032_B033 | N-1 | L_B032_B033 | 0.0087549 | TRUE | 0.48172 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A035_A036 | N-1 | L_A035_A036 | 0.0086121 | TRUE | 0.51099 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A047_A048 | N-1 | L_A047_A048 | 0.0085786 | TRUE | 0.47424 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A040_A041 | N-1 | L_A040_A041 | 0.0081527 | TRUE | 0.32648 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high
N1_LINE_L_A050_A001 | N-1 | L_A050_A001 | 0.0081473 | TRUE | 0.28933 | 50 | 251.7224 | 288.7755 | 565.3813 | 1.3092 | 1 | 0.30175 | 90 | 90 | 0 | 0 | 59 | 0 | 0 | 0 | 9 | high