## Grid_Summary
total_buses | total_lines | total_generators | base_generation_mw | base_load_mw | base_violations | stressed_violations
60 | 81 | 17 | 150.6978 | 169.4544 | 30 | 53

## Contingency_Analysis
contingency_id | contingency_type | elements | probability | converged | solve_time | iterations | total_generation_mw | total_load_mw | total_losses_mw | max_voltage_pu | min_voltage_pu | max_line_loading_pct | pre_violations | post_violations | new_violations | cleared_violations | critical_violations | new_critical_violations | islands_created | islanded_buses_count | severity_score | criticality_level
N1_LINE_L_A001_B001 | N-1 | L_A001_B001 | 0.28676 | TRUE | 0.073702 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high
N1_LINE_L_B001_B002 | N-1 | L_B001_B002 | 0.030597 | TRUE | 0.068152 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high
N1_LINE_L_A004_A005 | N-1 | L_A004_A005 | 0.03051 | TRUE | 0.095442 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high
N1_LINE_L_B006_B007 | N-1 | L_B006_B007 | 0.024095 | TRUE | 0.08401 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high
N1_LINE_L_A012_A013 | N-1 | L_A012_A013 | 0.020773 | TRUE | 0.077077 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high
N1_LINE_L_A025_A026 | N-1 | L_A025_A026 | 0.01819 | TRUE | 0.078946 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high
N1_LINE_L_B021_B022 | N-1 | L_B021_B022 | 0.018091 | TRUE | 0.080379 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high
N1_LINE_L_B020_B021 | N-1 | L_B020_B021 | 0.017946 | TRUE | 0.071994 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high
N1_LINE_L_B022_B007 | N-1 | L_B022_B007 | 0.017631 | TRUE | 0.083959 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high
N1_LINE_L_A005_A006 | N-1 | L_A005_A006 | 0.017599 | TRUE | 0.076827 | 50 | 184.9273 | 176.1213 | 633.5958 | 1.4613 | 1.0462 | 0.15339 | 53 | 53 | 0 | 0 | 30 | 0 | 0 | 0 | 5.3 | high

## Mitigation_Plans
action_id | contingency_id | num_actions | primary_action_type | primary_target | primary_delta_mw | estimated_cost_usd | execution_success | violations_cleared | violations_remaining | final_cost_usd | execution_time_s | total_mw_redispatched | total_mw_shed
ACT_20250608_034928_N1_LINE_L_A001_B001 | N1_LINE_L_A001_B001 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.086855 | 0 | 0
ACT_20250608_034928_N1_LINE_L_B001_B002 | N1_LINE_L_B001_B002 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.085705 | 0 | 0
ACT_20250608_034928_N1_LINE_L_A004_A005 | N1_LINE_L_A004_A005 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.095104 | 0 | 0
ACT_20250608_034928_N1_LINE_L_B006_B007 | N1_LINE_L_B006_B007 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.12701 | 0 | 0
ACT_20250608_034928_N1_LINE_L_A012_A013 | N1_LINE_L_A012_A013 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.11332 | 0 | 0
ACT_20250608_034928_N1_LINE_L_A025_A026 | N1_LINE_L_A025_A026 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.10257 | 0 | 0
ACT_20250608_034929_N1_LINE_L_B021_B022 | N1_LINE_L_B021_B022 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.087894 | 0 | 0
ACT_20250608_034929_N1_LINE_L_B020_B021 | N1_LINE_L_B020_B021 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.088347 | 0 | 0
ACT_20250608_034929_N1_LINE_L_B022_B007 | N1_LINE_L_B022_B007 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.10955 | 0 | 0
ACT_20250608_034929_N1_LINE_L_A005_A006 | N1_LINE_L_A005_A006 | 5 | reactive_dispatch | Generator B002 | 0 | 100 | TRUE | -48 | 53 | 100 | 0.095844 | 0 | 0